GSL1700X-80 Bench Top Tube Vacuum Furnace

GSL-1700X-80 Tube Furnance is a bench-top furnace using 1800 grade MoSi2 heating elements . It is widely used for materials or chemical labs to sinter all types of new materials samples under vacuum or other gases conditions. 1/4” in diameter acuum sealing assembly will connect with 1/4” rubber hose. The temperature of GSL-1700X-80 Tube Furnace controlled by high precision controller with accuracy +/-1 ℃ and 51 segments programmable up to 1750℃

Specifications:

| Furnace structure | Double layer steel casing with air cooling. Two cooling fan inside to keep case temperature < 55oC. High purity Alumina refractory chamber with 10mm thick 2500oC grade YSZ ceramic liner. |
| --- | --- |
| Tube Materials: | High purity Al2O3 ceramic, Purity > 99.9%. |
| Heating Elements | 1800oC grade MoSi2 heating element |
| Max. Working Temperature: | 1700 oC < 1 hour |
| Input: | Single Phase, 220V AC, 50/60 Hz (40A breaker required) |
| Output: | Max. 5KW |
| Dimension: | 550 L x 450 W x 670 H mm (21.7" L x 17.7" W x 26.4" H) |
| Net Weight: | 100 kg (220 lbs) |

MTI Corporation

860 South 19th Street

Richmond, CA 94804, USA

TEL: (510)525-3070     FAX: (510)525-4705

Web site:  www.mtixtl.com   E-mail: info@mtixtl.com