VGT-1860QTD Heated Ultrasonic Cleaner with Digital Timer 6000mL

This new digital ultrasonic cleaner is so powerful that it can clean with water alone. This is used for cleaning single crystal substrate, TEM sample and metallographic samples, etc.

Features:

- Designed and Engineered in USA!

- Temperature Regulated Heating Element for Best Cleaning Performance.

- Industrial Grade Transducer for Best Reliability.

- 2 Years Warranty

Specifications:

- Ultrasonic Frequency: 40KHz or 25KHz

- Temperature Setting: 20°C~80°C adjustable

- Time setting:1-99 minutes adjustable

- Tank Material: Stainless Steel

- Power Supply: AC110V or 220V, 50/60Hz (Please let us know your requirement of AC supply)

- Temperature Controlled Heat for best cleaning performance

- Unit Size: 330 * 180 * 310 (L * W * H) mm

- Tank Dimensions in Inches: 300 * 155 * 150(L * W * H) mm

- Tank Capacity: 6.34 Quarts or 12.68 Pints or 6 Liters

- Power: 480w

- Shipping weight: 13 lbs

- Shipping volume: 8x14x13"

MTI Corporation

860 South 19th Street

Richmond, CA 94804, USA

TEL: (510)525-3070     FAX: (510)525-4705

Web site:  www.mtixtl.com   E-mail: info@mtixtl.com